## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Southgate Court
Camsey close
Longbenton
Ne12 8uw
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24894
DATE OF REPORT: 13/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24894
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 13 Southgate Court
Camsey close
Longbenton
Ne12 8uw
Carried Out On | 13/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No heating or hot water in communal block

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24894
SECTION 3: Report
GB-13/11/22- NOT HOT WATER AND HEATING ON ZONE 1. MANUALLY OPENED THE VT VALVE ON ZONE 1 AND ON THE TANKS

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24894
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24894
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24894
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24894
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24894
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes