## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
96 Kingsway
Blyth
Northumberland
NE24 2RU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24910
DATE OF REPORT: 14/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24910
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 96 Kingsway
Blyth
Northumberland
NE24 2RU
Carried Out On | 14/11/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24910
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -none Downstairs Smoke Alarm Location & Date -passage jan2028 Heat Alarm Location & Date -kitchen feb 2027 Co Alarm Location & Date -kitchen feb2028 Co Alarm Replaced - Yes/No no Boiler to be removed - baxi main eco Boiler Serial number –not on boiler Job Type – Conversion / boiler replacement / full heating -boiler replacement Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – horizontal If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate terminates into soakaway Condensate pump required – Yes/No no Condensate current termination acceptable yes or no -yes need upgrading internally If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ?32mm Number of radiators -6 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas none

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes