## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Patton House
Patton Walk
Wheatley Hill
DH6 3QY
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 22-24939
DATE OF REPORT: 15/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24939
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Patton House
Patton Walk
Wheatley Hill
DH6 3QY
Carried Out On | 14/11/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Please investigate tripped electricity on site.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24939
SECTION 3: Report
GP 15.11.22 - Arrived on site carried out some investigations found boiler 1 in operation on low fire but constantly sparking. Looked further in to this and found 1 or 2 sections of the boiler now leaking, thus water shorting the rectification probe. Boiler number 2 was turned off on the isolator. I turned the isolator on and found the boiler going straight to lockout. On further inspection it was noticed the overheat wiring had been disconnected so this was all reconnected and boiler 2 was put back in to full operation. Boiler 1 has been turned off on the gate valves to stop the pressurization unit constantly operating

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24939
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24939
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24939
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24939
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24939
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes