## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Felton Walk
Newcastle upon Tyne
Tyne and Wear
NE6 2EZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24956
DATE OF REPORT: 15/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24956
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 29 Felton Walk
Newcastle upon Tyne
Tyne and Wear
NE6 2EZ
Carried Out On | 15/11/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
SOR Description Units SMV BK-GASPIPE Gas Pipe Service 1 30 BK-HEATDET Heat Detector 1 2 BK-SMOKDET Smoke Alarm 1 2 BK-SMOKDET Smoke Alarm 1 2 BK-SMOKDET Smoke Alarm 1 2 BK-SMOKDET Smoke Alarm 1 2 BK-SMOKDET Smoke Alarm 1 2

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24956
SECTION 3: Report
PN 15/11/22 Found gas leak on property Called in to gas emergency

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24956
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24956
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24956
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24956
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24956
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes