## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Brinkburn Court
North Shields
Tyne and Wear
NE30 1BE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24988
DATE OF REPORT: 15/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24988
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Brinkburn Court
North Shields
Tyne and Wear
NE30 1BE
Carried Out On | 15/11/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
No heating or hot water on newly fitted Combi Boiler - boiler showing F1 fault and loosing pressure, pressure gate also on 0 and only happening during the night when it gets cold

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24988
SECTION 3: Report
Attended, no signs of leaks, expansion Vessel filled, main head exchange not leaking into Condensate. Leak sealer added

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes