## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Holborn House
Commercial Road
South Sheilds
NE33 1UE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-25028
DATE OF REPORT: 16/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25028
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 15 Holborn House
Commercial Road
South Sheilds
NE33 1UE
Carried Out On | 16/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Investigate broken thermostat and why the heating will not turn off or down

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25028
SECTION 3: Report
GB-16/11/22- HEATING STAYING ON. ACUATOR HEAD WORKING CORRECTLY BUT ZONE 1 ZONE 2 PORT VALVE IS STUCK OPEN AND SENDING SIGNAL BACK TO HIU FOR A HEATING DEMAND. SWITCH THE ZONE VALVES AROUND AND LEFT THE BEDROOM ONE OF SO ABLE TO HAVE HEATING ON AND OFF IN FLAT EXCEPT BEDROOM

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25028
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25028
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25028
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25028
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25028
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes