## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
94 Deneside
Lanchester
Durham
DH7 0LY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-25181
DATE OF REPORT: 22/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25181
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 94 Deneside
Lanchester
Durham
DH7 0LY
Carried Out On | 30/11/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
Planned electrics for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25181
SECTION 3: Report
Combi: ✅ Conversion: S/plan: Y/plan: Zoned: Earthing system: TT: ✅ ROD LOCATION: lim TN-S: TN-C-S: Main Fuse: 60A: ✅ 63A: 80A: 100A: Meter tail size: 16mm: 25mm: ✅ Main earth size: 10mm: 16mm: ✅ Gas bond: 10mm: ✅ Water bond: 10mm: .03 Plastic: Heating bond 10mm : ✅ Consumer unit: MAKE: wylex MCB SIZE: 6A: ✅ 10A: 16A: 32A: RCBO SIZE: 6A: 10A: 16A: 32A: RCBO TYPE: A: AC: EDITION: 15th: 16th: ✅ 17th: 18th: SPD YES TYPE: NO: ✅ LOCATION: front door CIRCUIT DESCRIPTION: heating CIRCUIT NUMBER: 11 CS 1.5-1mm 100mA present : 298ms NUMBER OF WAYS DB: 12 Ze: 107ohms PFC: 2 amps Zdb: 107ohms PFC: 2 amps PSCC: .30. .772 L-L: N-N: E-E: R1+R2: .12 Zs: 108ohms 30mA: RCD X 1: 39.1 RCD X 5: 13.8 RCD TYPE: A RCD TYPE: AC ✅ 80 amps 100mA: 298ms Any issues with installation ie: FAULT CODES EQUIPMENT USED: WAS A RCBO USED: STAT: WIRED: ✅ RF: PROGRAMMER: CYL STAT: WIRING CENTRE: CROSS BONDED: X 5: X 6: ✅ BLANK PLATES: Single: Double: FUSED SPUR CONNECTION UNIT: BACK-BOX: 1 WAGO’s: 2 TRUNKING: 1 CABLE 5 CORE: CABLE 3 CORE: 2 meter 6mm EARTH: 1 meter ANY OTHER CABLE USED: 1.5 twin and earth 1 meter

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25181
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25181
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25181
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25181
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25181
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes