## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 The Green
Chester-Le-Street
County Durham
DH2 2BB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-25289
DATE OF REPORT: 29/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25289
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 21 The Green
Chester-Le-Street
County Durham
DH2 2BB
Carried Out On | 21/11/2022, 28/11/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Top landing to fit new radiator above landing.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25289
SECTION 3: Report
Jw 21-11-22 Additional rad on lading under window 600x1000k1 House is on 15mm copper pics sent to admin Rb-28/11/22 Pipe work and radiator installed. Heat tested and all sound. Tony to attend to repair small pipe work boxing under radiator.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25289
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25289
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25289
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25289
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25289
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes