## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Manors ( Flat 36 )
Adderlane Road
West Wylam
NE42 5ET
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-25360
DATE OF REPORT: 23/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25360
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Manors ( Flat 36 )
Adderlane Road
West Wylam
NE42 5ET
Carried Out On | 23/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Heating not working within flat 36

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25360
SECTION 3: Report
GB-23/11/22-NO HEATING IN FLAT.REPLAVED 2 PORT VALVE FROM 15MM TO 22MM

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes