## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Burn Promenade ( Flat 30 )
Burn Park Road
Houghton Le Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-25371
DATE OF REPORT: 25/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25371
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Burn Promenade ( Flat 30 )
Burn Park Road
Houghton Le Spring
DH4 5EJ
Carried Out On | 24/11/2022, 25/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Please investigate heating issue within flat 30

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25371
SECTION 3: Report
GB-24/11/22- 2 PORT VALVE NOT CLOSING FULLY. TOOK MOTORHEAD OFF AND IS OPERATING BUT THE VALVE ON THE BRASS CONNECTION IT SELF IS HARD TO TURN OFF. CANT FIND FLOW AND RETURN ISOLATION IN THE FLAT OR IN CEILING IN CORRIDOR BUT BELIVE TO HAVE FOUND THE FLOW AND RETURN IN THE LOFT SPACE WHICH FEEDS FLATS 30,7,22. SO THEY WOULD NEED TO BE NOTIFIED THAT THE HEATING WILL BE TURNED OFF SO VALVE CAN BE REPLACED. SITE MANGER NOT IN ON FRIDAYS SO WOULD NOT BE ABLE TO NOTIFIE THE RELEVANT PEOPLE UNLESS APPOINTMNET MADE BETWEEN MONDAY TO THURSDAY. ALSO TENANT REQUURES A PHONE CALL TO ARRANGE ANY APPOINTMENTS NOT TEXT MESSAGE 22mm 2 port vale required GB-25/11/22- REPLACED 2 PORT VALVE

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes