## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 2, Burn Promenade
Burn Park Road
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-25393
DATE OF REPORT: 28/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25393
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Flat 2, Burn Promenade
Burn Park Road
DH4 5EJ
Carried Out On | 28/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
TMV Installation

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25393
SECTION 3: Report
GB-28/11/22- INSTALLED 15MM TMV TO WASH BASIN AND SERVICE VALVES JUST BEFORE THE TMV DUE TO NO ISOLATIONS FOR THE HOT AND COLD 8N THE FLAT. ONLY IN THE LOFT ON FLOW AND RETURNS WHICH FEED BOTH FLATS.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25393
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25393
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25393
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25393
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25393
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes