## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
55 Gibside
Chester-Le-Street
County Durham
DH2 2TT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-25407
DATE OF REPORT: 29/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25407
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 55 Gibside
Chester-Le-Street
County Durham
DH2 2TT
Carried Out On | 29/11/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25407
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -hall July 2030 Downstairs Smoke Alarm Location & Date - living room nov2031 Heat Alarm Location & Date -august 2030 Co Alarm Location & Date - hall NO DATE Co Alarm Replaced - Yes/No no Boiler to be removed - baxi duo tec Boiler Serial number –cac144330222jc Job Type – Conversion / boiler replacement / full heating - boiler Combi / heat only / system boiler - combi Boiler location - utility Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE 4 Any access requirements to access flue - no Flue guard needed - no Standoff kit required - no Gas meter internal / external – external Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no - yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? 32 Number of radiators - 7 Size of pipework at radiators - 15 Number of bathrooms -1 Electric shower - yes Any other means of heating - Electric fire Current Cooker Type – Electric / Gas gas Current Fire Type – Electric / Gas elec

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25407
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25407
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25407
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25407
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25407
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes