## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Victoria Court
Cullercoats
North Shields
NE30 4QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-25638
DATE OF REPORT: 02/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25638
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Victoria Court
Cullercoats
North Shields
NE30 4QR
Carried Out On | 02/12/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25638
SECTION 3: Report
Boilers and pressurisation unit fine when arriving on site. Hot water not coming out of 3 flats showers but the hot water from kitchen sinks are fine. Leading to the possibility of faulty thermostatic showers or a faulty tmv.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25638
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25638
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25638
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25638
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25638
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes