## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 High Barnes
Great Lumley
Chester-le-Street
DH3 4HY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-25646
DATE OF REPORT: 02/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25646
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 42 High Barnes
Great Lumley
Chester-le-Street
DH3 4HY
Carried Out On | 02/12/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25646
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - landing June 2031 Downstairs Smoke Alarm Location & Date - dining room June 2031 Heat Alarm Location & Date - kit June 2031 Co Alarm Location & Date - landing NEEDS REPLACED Co Alarm Replaced - Yes/No TO BE REPLACED Boiler to be removed - baxi duo tec Boiler Serial number –CAC103130737HC Job Type – Conversion / boiler replacement / full heating - REPLACEMENT Combi / heat only / system boiler - COMBI Boiler location - LANDING Is 22mm gas pipe visible at boiler -YES Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE VERTICAL 2 Any access requirements to access flue - NO Flue guard needed - NO Standoff kit required - NO Gas meter internal / external – EXTERNAL Condensate Condensate pump required – Yes/No NO Condensate current termination acceptable yes or no - YES If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -5 Size of pipework at radiators - Number of bathrooms - 10MM Electric shower - YES Any other means of heating - ELEC FIRE Current Cooker Type – Electric / Gas ELECTRIC Current Fire Type – Electric / Gas ELECTRIC PHONE 01913874902

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes