## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Pembroke Court ( Flat 50 )
Hylton Lane
Downhill
SR5 4DF
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-25701
DATE OF REPORT: 05/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25701
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Pembroke Court ( Flat 50 )
Hylton Lane
Downhill
SR5 4DF
Carried Out On | 05/12/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No Heating / Hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25701
SECTION 3: Report
GB-5/12/22- BOILER SHOWING E119, CHECKEE VESSEL. 1.5 BAR BUT SOME ONE FROM KARBON WAS OUT ON SATURDAY WHO REPRESSURISED THE VESSEL. CHECKED PRV AT THE CONNECTIO UNDERNEATH BOILER AND AT THE PIPE PUTSIDE AND WHERE WET. TOOK PRV OUT AND CLEANNED THE SEAL AND REFITTED AND REPRESSURISED THE SYSTEM AND CONCTANLY CHECKED IF PRV WAS STILL PASSING WHILE BOILER WAS ALSO IM HIGH MODE TO SEE IF THE SYSTEM PRESSURE INCREASED TO HIGH. PRV NOT PASSING AND PRESSURE ALL OK. CHECKED RADS ALSO

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes