## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Swiftdale Close
Bedlington
Northumberland
NE22 7LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-25703
DATE OF REPORT: 06/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25703
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Swiftdale Close
Bedlington
Northumberland
NE22 7LF
Carried Out On | 05/12/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
tenant has no heating or hot water boiler keeps saying low pressure plenty money on meter this is happening all the time error code F1 and picture of a spanner booked as emergency appoint mentn

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25703
SECTION 3: Report
GB-5/12/22- LOW PRESSURE. VESSEL PRESSURE LOW EVEN THOUGH HAD BEEN TOPPED UP ABOUT A MONTH AGO. VESSEL AND PRV REQUIRED. TOPPED BACK UP GC NUMBER 47-349-19

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes