## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Harperley Gardens
Stanley
County Durham
DH9 8RZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-25799
DATE OF REPORT: 14/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25799
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Harperley Gardens
Stanley
County Durham
DH9 8RZ
Carried Out On | 14/12/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25799
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - landing no date Downstairs Smoke Alarm Location & Date - hall NO date Heat Alarm Location & Date - kit no date Co Alarm Location & Date - bedroom dec 2032 Co Alarm Replaced - Yes/No no Boiler to be removed - vailliant ecotec plus Boiler Serial number – 210715308511 1300016290n1 Job Type – Conversion / boiler replacement / full heating - combi Combi / heat only / system boiler - combi Boiler location - bedroom Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE no Any access requirements to access flue - Flue guard needed - no Standoff kit required - no Gas meter internal / external – external Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no - If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -8 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower - no Any other means of heating - no Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas nil

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes