## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Victoria Court
Front Street
Cullercoats
Ne30
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-25859
DATE OF REPORT: 24/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25859
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Victoria Court
Front Street
Cullercoats
Ne30
Carried Out On | 09/12/2022
Survey Completed By | David Hunter
SECTION 2: Introduction
Communal hot water issue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25859
SECTION 3: Report
I isolated two hot water return isolations communal on the risers i suspected may have issues and returned the following morning to find hot water present within 30 seconds at the communal lounge the riser of flats 8-30 and also the riser from flats 6-27/28 i dont recall which is the 2nd floor flat on this riser. The riser off flat 8-30 is now ok and not causing an issue. The building is operational now with flat 29 isolated within the hallway cupboard access panel of the flat, The cold, hot and hot return pipe has been isolated i believe there is an issue with one of the outlets within this property and advise replacing all cartridges' inc on the kitchen mixer. Flat 7 I have isolated the cold supply to the basin mixer tap and this is not closing down, this indicates a failure of the cartridge and requires replacing the housing officer will give access today to complete the works.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes