## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Edward Cain Court
Hordon
Peterlee
SR8 4ED
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-25874
DATE OF REPORT: 11/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-25874
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 11 Edward Cain Court
Hordon
Peterlee
SR8 4ED
Carried Out On | 11/12/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No Heating or Hot Water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-25874
SECTION 3: Report
PN 11/12/22 Low pressure boiler leaking from my on return side Tightened nut Topped pressure up no visible leaks Heating and hot water working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-25874
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25874
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25874
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25874
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-25874
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes