## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Stanley Court ( Flat 29 )
Stanley
Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-26007
DATE OF REPORT: 14/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-26007
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Stanley Court ( Flat 29 )
Stanley
Durham
DH9 6HD
Carried Out On | 14/12/2022
Survey Completed By | Chris Coffer
SECTION 2: Introduction
Please attend site and assess what materials are required to install circulating pump, additionally please check that the power supply is present - 07376237532

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-26007
SECTION 3: Report
The full system will need to be isolated and flat drained as it is a one pipe system and old gate valves fitted. The first section of the flat will need to be re piped in copper up to the first radiator (materials required) 2 x 22mm gate valves, 2 x 22mm pump valves, 1 x domestic 15-60 pump, 2 x 3/4” male irons (pressfit), 1 x 22mm elbow (pressfit), 1 x 22mm straight (pressfit, 1 x room thermostat. Electrician to wire pump and thermostat together. 2 x engineers for 1 day as it involves shutting off the whole building.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-26007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes