## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
46 Sevenacres
Chester-Le-Street
County Durham
DH3 4JT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-26038
DATE OF REPORT: 14/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-26038
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 46 Sevenacres
Chester-Le-Street
County Durham
DH3 4JT
Carried Out On | 14/12/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
No heating / hw, please replace boiler at property as per A Sutherland ---- Miss Lauren Winder 46 Sevenacres Great Lumley 07385635394. Boiler is on a horizontal flue in upstairs bedroom cupboard.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-26038
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - landing March 2033 Downstairs Smoke Alarm Location & Date - hall march 2033 Heat Alarm Location & Date - Akit aug 2033 Co Alarm Location & Date - TO BE REPLACED Co Alarm Replaced - Yes/No TO BE REPLACED Boiler to be removed - Worcester greenstar Boiler Serial number –7716130140 Job Type – Conversion / boiler replacement / full heating - boiler rep Combi / heat only / system boiler - combi Boiler location - bedroom Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue - ladders Flue guard needed - no Standoff kit required - no Gas meter internal / external – Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no - yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? 32 Number of radiators -6 Size of pipework at radiators - 10 mm Number of bathrooms -1 Electric shower - yes Any other means of heating - fire Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-26038
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26038
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26038
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26038
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26038
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes