## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Epworth
Tanfield Lea
DH9 9UJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-26058
DATE OF REPORT: 15/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-26058
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Epworth
Tanfield Lea
DH9 9UJ
Carried Out On | 15/12/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
No heating and hot water, reconnect condensate pipe

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-26058
SECTION 3: Report
Re connected Condensate, to find it needed to be re-routed correctly. Temporary repair carried out, termination of Condensate Into bucket. Soak away needed to complete job correctly, and terminate Condensate correctly.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-26058
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26058
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26058
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26058
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26058
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes