## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Auden House
St Ann's Court
York
Y010 5FD
CARRIED OUT ON BEHALF OF
54North Homes
REPORT NUMBER: 22-26079
DATE OF REPORT: 21/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-26079
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | 54North Homes
Address | Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | Auden House
St Ann's Court
York
Y010 5FD
Carried Out On | 16/12/2022
Survey Completed By | James Jr
SECTION 2: Introduction
Please attend site and investigate wiring issues, independent jobs will be logged on arrival to site.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-26079
SECTION 3: Report
Flat 42: Re-wired underfloor heating wiring centre and installed 4x wired neomitis programmable room thermostats, removed 2-port zone valve as the hallway stat was controlling this meaning tenants didn’t have any control over individual rooms. Could you get the manger to check to see if all is working and the tenant has heat. Materials used: x12 wago’s x4 Clips x1 Double blank plate x12 Wire Ferrule ends for flex cable x4 tie wraps Flat 43: This flat is wired the same way the hallway stat controls the 2-port valve what controls the overall system meaning if the tenant turns off the hallway stat or it reaches temperatures the rest of the system won’t warm up, turned stat up to 25C so tenant had heat. Flat 38: Valve is operated by hallway stat again the stat was working when I checked but the 2-port was operating allowing heat into the manifold, wiring on a glance looks like it needs further investigation as stats are potentially wired incorrectly. checked the pins under the actuator heads seems to be moving freely 2 have tiny drips on them and are slightly rusting if the tenant still has no heat then new actuator heads and stats might be needed. Asked the tenant if he was warm enough and said yes he was fine also informed staff to check to make sure he was fine later on in the night. Flat 26: Has no heat in the flow pipe entering the flat valve must be in the loft space and need access to it as the loft hatch is locked. Flat 11: hallway stat again controlling the 2 port valve the stat was operating but the 2-port tho is stuck in the open position, checked pins under the actuator heads all moving freely all stats were putting power on to the actuators if the problem is still on going then new actuator heads and wiring centre will need to be re-wired and 2 port removed. Flat 16: Did not attend due to time. Could you ask the manager on site to check to see if tenants have heat or not.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-26079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26079
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes