## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area, 1-46 The Manors
Adderlane Road
West Wylam
NE42 5ET
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-26092
DATE OF REPORT: 16/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-26092
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area, 1-46 The Manors
Adderlane Road
West Wylam
NE42 5ET
Carried Out On | 16/12/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
no heating in downstairs bathroom and stairwells

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-26092
SECTION 3: Report
When arriving found manifold (behind door in laundry) to find three actuator heads were not being powered up. Thermostats were all turned to max but actuators were not letting heat through. Checked the pins and they were all free. Asked manager on site if she would like the heads left off so they can heat the rooms but she said it would be to hot and to just leave it how it is.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-26092
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26092
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26092
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26092
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26092
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes