## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
82 West Farm Wynd
Longbenton
Newcaste Upon Tyne
NE12 8UH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-26202
DATE OF REPORT: 22/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-26202
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 82 West Farm Wynd
Longbenton
Newcaste Upon Tyne
NE12 8UH
Carried Out On | 21/12/2022
Survey Completed By | Ste Hind
SECTION 2: Introduction
Reactive electrics for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-26202
SECTION 3: Report
Combi:yes Conversion: S/plan: Y/plan: Zoned: Earthing system: TT: ROD LOCATION: TN-S: TN-C-S:yes Main Fuse: 60A: 63A: 80A:yes 100A: Meter tail size: 16mm: 25mm:yes Main earth size: 10mm: 16mm:yes Gas bond: 10mm:yes Water bond: 10mm:yes Plastic: Consumer unit: MAKE:Wylex MCB SIZE: 6A:yes 10A: 16A: 32A: RCBO SIZE: 6A: 10A: 16A: 32A: RCBO TYPE: A: AC: EDITION: 15th: 16th: 17th:yes 18th: SPD YES TYPE:no NO:yes LOCATION:bottom of stairs CIRCUIT DESCRIPTION:heating CIRCUIT NUMBER:2 NUMBER OF WAYS DB:10 Ze: 0.13 PFC:1.80ka Zdb: PFC: PSCC: L-L: N-N: E-E: R1+R2:1.30 Zs:0.66 30mA: RCD X 1:28.0 RCD X 5:11.7 RCD TYPE: A RCD TYPE: AC 100mA: Any issues with installation ie: FAULT CODES EQUIPMENT USED: WAS A RCBO USED: STAT:yes WIRED: RF: PROGRAMMER:yes CYL STAT: WIRING CENTRE: CROSS BONDED: X 5: X 6: BLANK PLATES: Single:yes Double: FUSED SPUR CONNECTION UNIT: BACK-BOX: WAGO’s: TRUNKING: CABLE 5 CORE: CABLE 3 CORE: 6mm EARTH: ANY OTHER CABLE USED:

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-26202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes