## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Windsor Terrace
Consett
County Durham
DH8 7QW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-26207
DATE OF REPORT: 21/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-26207
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Windsor Terrace
Consett
County Durham
DH8 7QW
Carried Out On | 21/12/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Frozen condensate pipe - pipe blocked and backed up. Will need upgrading Currently draining into a bucket with now back on - this is a temporary measure

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-26207
SECTION 3: Report
Pipe all out in condensate, needs to be re drilled and put out in 32mm 2 length 3 elbows required.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-26207
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26207
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26207
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26207
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-26207
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes