## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 River View
Lynemouth
NE61 5TY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-26418
DATE OF REPORT: 06/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-26418
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 25 River View
Lynemouth
NE61 5TY
Carried Out On | 06/01/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-26418
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -landing 03/29 Downstairs Smoke Alarm Location & Date -SAhall12/32, SaAlounge12/32, SApassage09/32 Heat Alarm Location & Date -HAkit12/32 Co Alarm Location & Date -boiler cupboard 12/24 Co Alarm Replaced - Yes/No no Boiler to be removed -yes Boiler Serial number –AWA073645628CB Job Type – Conversion / boiler replacement / full heating -boiler replacement Combi / heat only / system boiler -combi Boiler location -landing cupboard Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue -vertical X3 extensions 2x45s Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal external Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no Yes If no what needs to be amended to bring it up to regs Is the condensate currently through the wall in 19 or 32mm ? 32 Number of radiators -9 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating - electric fire Current Cooker Type – Electric / Gas. Electric Current Fire Type – Electric / Gas electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-26418
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26418
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26418
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26418
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26418
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes