## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Alpha Court
2 Monks Cross Drive
Huntington
YO32 9WN
YO32 9WN
CARRIED OUT ON BEHALF OF
York Housing Association
REPORT NUMBER: 23-26458
DATE OF REPORT: 13/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-26458
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | York Housing Association
Address | York Housing Associaion
Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | Alpha Court
2 Monks Cross Drive
Huntington
YO32 9WN
Carried Out On | 11/01/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Attend site & carry out the following ---- ---- Check functionality of all radiators & restore to full working order Advise on how to set system timmer to automatically come on

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-26458
SECTION 3: Report
GP - 11.1.23 - Arrived on site to carry out remedial issues with heating system. Found system water to be sitting at 0.5 bar causing the boiler to cycle this was refilled manually as the pressurization unit was isolated of its services. Also there was numerous radiators non operational so these were all serviced also had to replace 2 x trvs from van stock these were 3/4 screwed. I also had to alter the settings on the trend bms as in set points and timings. All is now operational.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-26458
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26458
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26458
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26458
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26458
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes