## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 rye hill gardens
Heartlepool
TS26 0JJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-26530
DATE OF REPORT: 07/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-26530
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 15 rye hill gardens
Heartlepool
TS26 0JJ
Carried Out On | 07/01/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
The gas fire will not ignite, and the pilot light has been switched off due to being in the hospital. They are 98 years of age and need to be warm

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-26530
SECTION 3: Report
Went in to property and spark in fire wouldn’t click when turning spindle. Possible fault with the spindle. Left hater with tenant.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-26530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes