## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moordale ( Flat 5 )
Fabian Road
Middlesbrough
TS6 9RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-26616
DATE OF REPORT: 30/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-26616
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Moordale ( Flat 5 )
Fabian Road
Middlesbrough
TS6 9RH
Carried Out On | 11/01/2023
Survey Completed By | James Jr
SECTION 2: Introduction
radiators always hot they are switched off and thermostat switched off but heating on constantly. communal heating system.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-26616
SECTION 3: Report
Re-wired wiring centre and zone valve. Disconnect the thermostat in the main bedroom so the only stat controlling the system is the hallway stat what has been replaced with a neomitis rt7. Stat was operating the valve as it should be and radiators were cold when I left the property, possibly check in with the tenants tomorrow morning to see if everything is fine and working correctly. Materials used: x1 single blank plate x 6 wago’s x1 neomitis rt7

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-26616
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26616
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26616
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26616
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26616
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes