## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House ( Flat 8 )
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-26619
DATE OF REPORT: 13/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-26619
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House ( Flat 8 )
Commercial Road
South Shields
NE33 1EA
Carried Out On | 12/01/2023, 13/04/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
leak on heat exchanger and leaking in other places. ---- Ongoing issues with leaks from the unit. - as per Mark Taylor (Block communal heating)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-26619
SECTION 3: Report
Ct 13/4/23 Leak on plate heat exchanger. Tried giving a small nip made worse. So had to find correct isolation valves to drain pressure out of unit. Replaced 22 mm washer Parts used 1x 22mm washer from van stock. FoW y There is no securing clips on motorised valves and none in casing is working how ever if they come loose will be a problem

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-26619
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26619
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26619
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26619
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26619
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes