## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Consett Medical Centre
Station Road
Consett
DH8 5YA
CARRIED OUT ON BEHALF OF
Consett Medical Centre
REPORT NUMBER: 23-26666
DATE OF REPORT: 12/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-26666
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Consett Medical Centre
Address | Consett Medical Centre
Station Yard
Consett
DH8 5YA
Site Address | Consett Medical Centre
Station Road
Consett
DH8 5YA
Carried Out On | 12/01/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Please attend site to investigate leaking radiator and boiler in fault

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-26666
SECTION 3: Report
Leaks repaired and boiler topped up. Surgery 17 required the valves changed. Spoke to Jill and Dave hunter regarding the issue.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-26666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes