## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Northfields House
10 North View
Byker
NE6 2ASG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-26724
DATE OF REPORT: 13/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-26724
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 14 Northfields House
10 North View
Byker
NE6 2ASG
Carried Out On | 13/01/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Ongoing issue has been reported on job A1176103 & A1183423 First reported as a defect back in April and still not resolved: the water still not draining from the shower tray this job has been in for months and nothing done the lady is now going to see the local councilor as have waited for months showers been in nearly a year and has been reported all this time .also the cold tap in bathroom when tenant put the tap on the water sprays

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-26724
SECTION 3: Report
PN 13/01/23 Shower tray is not level will need removed and levelled up Turned down isolation valve to stop water spraying

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-26724
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26724
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26724
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26724
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26724
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes