## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 5 Castle Close
Fellside Park
Wickham
NE16 4HU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-26762
DATE OF REPORT: 16/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-26762
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 5 Castle Close
Fellside Park
Wickham
NE16 4HU
Carried Out On | 13/01/2023
Survey Completed By | Phillip Rogerson
SECTION 2: Introduction
Potential leak from cupboard.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-26762
SECTION 3: Report
Pipework undersink checked for leaks but none found. Lots of condensation on copper pipework and steel sink. Flow and return pipework from boiler run behind sink unit causing the condensation. Boiler central heating stat turned down to 60 degrees to see if that helps. Situation explained to tenants son on the phone. PR

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-26762
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26762
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26762
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26762
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26762
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes