## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
Osborne Villas:9 Osborne Avenue
Newcastle upon Tyne
NE2 1JU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-26792
DATE OF REPORT: 16/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-26792
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
Osborne Villas:9 Osborne Avenue
Newcastle upon Tyne
NE2 1JU
Carried Out On | 16/01/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
boiler leaking tenant concerned tt may flood downstairs flat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-26792
SECTION 3: Report
PN 16/01/23 Drain off leaking on elsdon tank Removed drain off re sealed with loctite no visible leaks when left

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-26792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes