## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Auden House ( Flat 3 )
St Ann's Court
York
YO10 5FD
YO32 9WN
CARRIED OUT ON BEHALF OF
54North Homes
REPORT NUMBER: 23-26963
DATE OF REPORT: 24/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-26963
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | 54North Homes
Address | York Housing Associaion
Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | Auden House ( Flat 3 )
St Ann's Court
York
YO10 5FD
Carried Out On | 20/01/2023, 24/01/2023
Survey Completed By | James Jr
SECTION 2: Introduction
The flat is extremely hot - It appears that the heating is on constantly & there is a fault with the main contoller

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-26963
SECTION 3: Report
Changed hallway stat to a centre brand due to the danfoss stat being stuck in the frost protection mode, valve was opening and shouting allowing heat to the manifold. Changed bedroom stat to a centre brand due to it buzzing when it was on. x2 wired centre brand x2 Wago’s

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-26963
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26963
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26963
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26963
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-26963
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes