## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Lynwood House ( Communal Area )
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27067
DATE OF REPORT: 23/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27067
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Lynwood House ( Communal Area )
Durham Road
Lanchester
DH7 0LS
Carried Out On | 23/01/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Residents complaing about a loud noise on the ground floor with the heating they can hear a loud banging noise and not sure if there is an air lock in system. This is mostly coming from ground floor from 9 onwards flat 10 onwards . Flat 10 has had a plumber out and is unable to find anything wrong. The noise is very loud and can be at any time day or night.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27067
SECTION 3: Report
Spoke to tenant who says between 8-9:30 and 5-6:30 you can hear a loud roaring noise coming from the flat. Said that it started off as a night pitched vibration but now had developed into a low pitch load roaring. No noise was heard when attending site, went to upstairs flat to try and run the taps also to see if it was a possible fault but still noting heard.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes