## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Victoria Court
Front Street
Cullercoats
NE30 4QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-27101
DATE OF REPORT: 31/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27101
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Victoria Court
Front Street
Cullercoats
NE30 4QR
Carried Out On | 23/01/2023, 24/01/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
FALSE

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27101
SECTION 3: Report
Jw23-1-23 No hot water No faults in plant room hot water isn’t getting to end of block all three floors number 7-21-29-30 these are the furthest away from plant room hot comes threw after 30 seconds runs cold follow on works required RB 24/01/23- When attending site noticed that the water was intermittent at flats 29-30-7-21. After speaking to DH and finding out that there has been a previous issue with flat 29 started at that flat. Removed the panel from the hallway cupboard and isolated the hot which then helped the hot water on all of the other flats. Then I staters a process of elimination by isolating the cold feed to the property and checking the taps to see if the TMV would then stop the flow of water, all taps this happened apart from the basin tap. After which I isolated the basin tap from underneath; after which I then unisolated the cold and checked the flats listed to narrow down that the basin tap of flat 29 is faulty and will need replaced. Has been left isolated at the minute to resolve issue with other flags as the flat is now empty.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27101
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27101
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27101
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27101
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27101
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes