## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Auden House ( Flat 29 )
St Anns Court
York
YO10 5FD
YO32 9WN
CARRIED OUT ON BEHALF OF
54North Homes
REPORT NUMBER: 23-27105
DATE OF REPORT: 24/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27105
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | 54North Homes
Address | York Housing Associaion
Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | Auden House ( Flat 29 )
St Anns Court
York
YO10 5FD
Carried Out On | 24/01/2023
Survey Completed By | James Jr
SECTION 2: Introduction
URGENT - ROOM TOO COLD BROKEN THERMOSTAT WONT TURN ABOVE 10dg

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27105
SECTION 3: Report
Bedroom stat was buzzing when turned above 10C changed it for a new centre brand wired stat, checked that the hallway stat was operating the valve and it was allowing heat to flow to the manifold, would advise these systems are re-designed as they have been made over complicated by the use of a zone valve. x1 centre brand wired x1 Wago

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27105
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27105
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27105
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27105
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27105
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes