## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Willow Place
Darlington
DL1 5LX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27141
DATE OF REPORT: 07/02/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27141
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Willow Place
Darlington
DL1 5LX
Carried Out On | 27/01/2023
Survey Completed By | Daniel Turner
SECTION 2: Introduction
Reactive install for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27141
SECTION 3: Report
KH - 07/02/2023 Warranty call made and Idea attended site 06/02/2023. Spoken to ideal Rep who advised the gas valve required changing and this has been completed. New readings are as follows. High - CO - 140 PPM CO2 - 9.3% Ratio - 0.0015 Low - CO - 23 PPM CO2 - 8.9% Ratio - 0.0003

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27141
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27141
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27141
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27141
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27141
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes