## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Auckland
Chester-Le-Street
County Durham
DH2 2TU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27199
DATE OF REPORT: 27/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27199
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 42 Auckland
Chester-Le-Street
County Durham
DH2 2TU
Carried Out On | 27/01/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Renew Manifolds in loft space.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27199
SECTION 3: Report
RB-27/01/23. Pipe work in loft (8mm copper) split in 5 different places. Repaired all leaks and topped boiler pressure up to 1.5 bar. Left for half an hour and checked again. Was still at 1.5. Engineers to attended to commission boiler.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes