## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Athlone Court
Blyth
Northumberland
NE24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27214
DATE OF REPORT: 15/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27214
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Athlone Court
Blyth
Northumberland
NE24 1EW
Carried Out On | 04/04/2023, 15/05/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
Zenith to attend and install an isolation valve to the female toilet supply pipe

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27214
SECTION 3: Report
GP - 4/4/23 The current 15mm isolation will not turn off and a replacement is required this supply also does the cleaners cupboard Materials required 1x hatch 1x 15mm lever valve 1x 15mm slip connector 15mm isolation valve fitted to w.c on Both male and female toilets. Also replaced bottom entry flow valve due to small leak coming out from bottom of cistern. Materials 1x 15mm service valve van stock Wolsey Blyth 1x 15mm service w.c connector and bottom entry flow valve. No fow required

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes