## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place ( Flat 27 )
Sheriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 23-27302
DATE OF REPORT: 12/04/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27302
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Brownsea Place ( Flat 27 )
Sheriff Hill
Gateshead
NE9 5PZ
Carried Out On | 30/01/2023, 12/04/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
Can this be passed to commercial contractor leaking gate valves in maintenance cupboard flat 27. Can we have a general job raised that can be sent over to Zenith to look into the leak. Requested by Stephanie Coleman Job number: 20486255 - Tel: 07954853264 - Job Order - General Works

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27302
SECTION 3: Report
RB - Attended flat 27 and noticed that there was a maintenance cupboard next to the flat, then noticed that the water ingress was coming from ceiling above. When attending the upstairs maintenance cupboard found that a gateway valve was leaking from the body, then looking upstairs to the above maintenance cupboard. The riser goes all the way down. Leading me to believe that to isolate, the riser to replace the valve, it will have to be isolated from the above maintenance cupboard. Engineer Initial - CT Date of attendance - 12/4/23 Works carried out - isolated riser above leak drained leg down. Removed old gate valve and the one next to it as didn’t look great either. I fitted 2 new 22mm gate valves and repiped back up to main riser connecting in with 3/4 -22mm male iron Materials 22mm gate vales 22mm press T 22mm press 90 22mm copper pipe. 3/4 male iron Merchant location used - crossings cost road Material Type and Quantity Used - 2x 22mm gate valve. 1 22mm press at 90 1 22mm press T 1 3/4 to 22 male iron 3ft 22mm copper Reference Number Used in branch -23-27302 Van stock items 9 x 22mm press 90 9 22mm press t 1 1” to 22mm male iron 2 meters 22mm copper lock tight Type of item - Quantity of item - FoW Follow on works required ( Y/N )N Materials required for FoW - Fabrics / Patching Required -not sure if repairing the water damaged sealing is us or home.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes