## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Carigill Drive
Longbenton
Newcaste Upon Tyne
NE12 8NW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27309
DATE OF REPORT: 30/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27309
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 Carigill Drive
Longbenton
Newcaste Upon Tyne
NE12 8NW
Carried Out On | 30/01/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Carry out gas test. Kitvhen fitters could smell gas after removing the kitchen.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27309
SECTION 3: Report
PN 30/01/23 No drop in gas on tightness test removed bayonet and capped pipe with end feed cap

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27309
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27309
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27309
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27309
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27309
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes