## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Fellsdyke Court ( Flat 20 )
12-23 Fellsdyke Court
Gateshead
NE10 9SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27313
DATE OF REPORT: 01/02/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27313
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Fellsdyke Court ( Flat 20 )
12-23 Fellsdyke Court
Gateshead
NE10 9SB
Carried Out On | 30/01/2023, 31/01/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Commercial Boiler Repairs Message : Communal boiler problem again... have no heating all night and Luke warm water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27313
SECTION 3: Report
Attended site locked in boiler room found that all components were working correctly. Then attended flat 20 when inspecting the hot water in flat. 20 noticed that the water was intermittently, hot removed basin TMV and cleared gauz from within. After this tried hot water once more, which was still intermittent. 2 15mm TNV is to be replaced. Showers to be inspected as are also not getting hot possible replacement of both, both are bar mixer showers with 150mm centres. Replaced both bar mixer showers and also both basin tmvs

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27313
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27313
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27313
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27313
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27313
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes