## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
27 South Magdalene
Consett
County Durham
DH8 6RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27332
DATE OF REPORT: 31/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27332
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 27 South Magdalene
Consett
County Durham
DH8 6RH
Carried Out On | 31/01/2023
Survey Completed By | Daniel Turner
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27332
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - hallway may 2028 // landing may 2028 Downstairs Smoke Alarm Location & Date - Heat Alarm Location & Date - Co Alarm Location & Date - landing sept 2025 Co Alarm Replaced - Yes/No Boiler to be removed - vailant ecoTEC pro 28 R1 Boiler Serial number – 210711308511 Job Type – boiler replacement / Combi - Boiler location - airing cupboard Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue - vertical 3 lengths 1 pair of 45’s Flue guard needed - no Standoff kit required -no Gas meter internal / external – Condensate Condensate pump required – Yes Condensate current termination acceptable - no - If no what needs to be amended to bring it up to regs ? Install pump and increase outside size down to drain in “1/4 Is the condensate currently through the wall in 19 or 32mm ? 19 Number of radiators - 8 Size of pipework at radiators - 10mm Number of bathrooms - 1 Electric shower - no Any other means of heating - electric fire Current Cooker Type – / Gas Current Fire Type – Electric /

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27332
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27332
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27332
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27332
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27332
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes