## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
52 Garesfield Gardens
Burnopfield
Newcaste Upon Tyne
NE16 6LE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27388
DATE OF REPORT: 01/02/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27388
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 52 Garesfield Gardens
Burnopfield
Newcaste Upon Tyne
NE16 6LE
Carried Out On | 31/01/2023, 01/02/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
issue with the condensate. will either need to re route the condensate or put a pump on it. Can fish pipe from outside over a support which is already under the floor and add additional support near to boiler.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27388
SECTION 3: Report
Condensate backing up due to sagging pipe under floor - overflow pipe needs cut out completely and replaced with 32mm right though to boiler. Can fish pipe from outside over a support which is already under the floor and add additional support near to boiler. This will be a better option than fitting a condensate pump. Condensate currently draining into bucket. Materials- 3 x lengths 32mm, 32mm straight connector, 32mm x 19mm reducer, 2 x 32mm bends, 2 x 32mm 45s Allow 2 hours DL When arriving on site after picking up here, noticed that there was a timber joist just inside of the wall making it unable for me to push 32 mm through. My next option was to fit condensate pump so I renewed all pipework go into it and then fed the holes through the pipe. Patched up outside, and Jimmy came to wire in.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27388
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27388
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27388
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27388
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27388
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes