## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Third Avenue
Chester-Le-Street
County Durham
DH2 2EF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27505
DATE OF REPORT: 03/02/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27505
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 24 Third Avenue
Chester-Le-Street
County Durham
DH2 2EF
Carried Out On | 03/02/2023
Survey Completed By | Chris Anderson
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27505
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - March 2033 Downstairs Smoke Alarm Location & Date - March 2033 Heat Alarm Location & Date - March 2033 Co Alarm Location & Date - October 2028 Co Alarm Replaced - No Boiler to be removed - baxi duotec combi 28he Boiler Serial number –CAC114830366JC Job Type – Conversion / boiler replacement / full heating - Combi Boiler location - Top of Stairs on landing Is 22mm gas pipe visible at boiler - Yes Flue type – horizontal Flue guard needed - No Standoff kit required - no Gas meter external Condensate Condensate pump required –No Condensate current termination acceptable yes Is the condensate currently through the wall in 19 or 32mm ? 32mm Number of radiators - 7 Size of pipework at radiators - 10mm Number of bathrooms - 1 Electric shower - no Any other means of heating - no Current Cooker Type – Gas Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27505
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27505
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27505
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27505
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27505
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes