## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Ferndene
Threap Gardens
Howdon
NE28 7HT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-27583
DATE OF REPORT: 01/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27583
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Ferndene
Threap Gardens
Howdon
NE28 7HT
Carried Out On | 27/02/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27583
SECTION 3: Report
3 x Hamworthy fleet f125v boilers = 2 are operational but boiler 1 has been turned off due to a faulty condensate trap 2 x Hamworthy = 1 operational, 2 operational but showing hi limit fault on sensor 1 x Hamworthy chessil pressurisation unit = operational 1 x LPHW expansion vessel = operational @ 1.5 bar 2 x MCWS expansion vessels = operational @ 3.5 bar Water analysis taken and awaiting test results serial number of tests is PPC210986660 Gauges = operational Lagging = good PRV,S = good Flue = good 3 x Schneider m700 actuators = operational 2 x Grundfos magna 3D 40-150 pumps = 1 operational 0.5 amps. 2 = operational 0.7 amps 2 x Grundfos magna 3D 40-120 pumps. 1= operational 0.4 amps. 2 = operational 0.6 amps 1 x Grundfos magna 3 26-60 sec ret pump = operational 0.3 amps 2 x biral de strat pumps. 1= operational 0.4 amps. 2= operational 0.4 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes