## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
67 The Acres
Wallsend
Tyne and Wear
NE28 7RQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-27680
DATE OF REPORT: 09/02/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-27680
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 67 The Acres
Wallsend
Tyne and Wear
NE28 7RQ
Carried Out On | 09/02/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-27680
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -landing 0727 Downstairs Smoke Alarm Location & Date -hall0627 Heat Alarm Location & Date -none Co Alarm Location & Date -kitchen 0424 Co Alarm Replaced - Yes/No no Boiler to be removed -yes Boiler Serial number –not visible Job Type – Conversion / boiler replacement / full heating -boiler replacement Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -no Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue -horizontal Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – Yes/Nono Condensate current termination acceptable yes or no -not visible If no what needs to be amended to bring it up to regs ? Condensate termination not visible runs into false wall Is the condensate currently through the wall in 19 or 32mm ?19mm Number of radiators -9 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -0 Any other means of heating -no Current Cooker Type – Electric / Gas. Gas Current Fire Type – Electric / Gas no fire

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-27680
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27680
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27680
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27680
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-27680
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes